## AllTest
|  | Bottle number | bottle_number
Orange cells are calculated - Change as you please. |  | Sample No. | sample_no
|  | Date | date
|  | Asset Reference | asset_reference
General |  | Analysis Package | analysis_package
|  | Reason For Analysis | reason_analysis
|  | Appearance | appearance
Particle Count - SAE 20 °C | p/100ml | 4-6µm (c) | particle_count_sae_room_4
| p/100ml | 6-14µm (c) | particle_count_sae_room_6
| p/100ml | 14-21µm (c) | particle_count_sae_room_14
| p/100ml | 21-38µm (c) | particle_count_sae_room_21
| p/100ml | 38-70µm (c) | particle_count_sae_room_38
| p/100ml | >70µm (c) | particle_count_sae_room_70
| p/100ml | >4µm (c) | particle_count_sae_cumulative_room_4
| p/100ml | >6µm (c) | particle_count_sae_cumulative_room_6
| p/100ml | >14µm (c) | particle_count_sae_cumulative_room_14
| p/100ml | >21µm (c) | particle_count_sae_cumulative_room_21
| p/100ml | >38µm (c) | particle_count_sae_cumulative_room_38
| p/100ml | >70µm (c) | particle_count_sae_cumulative_room_70
| SAE Class | >4µm | particle_count_sae_class_room_4
| SAE Class | >6µm | particle_count_sae_class_room_6
| SAE Class | >14µm | particle_count_sae_class_room_14
| SAE Class | >21µm | particle_count_sae_class_room_21
| SAE Class | >38µm | particle_count_sae_class_room_38
| SAE Class | >70µm | particle_count_sae_class_room_70
| SAE Final Class | SAE Class | particle_count_sae_class_room
| ISO4406 | >4µm | particle_count_sae_iso_room_4
| ISO4406 | >6µm | particle_count_sae_iso_room_6
| ISO4406 | >14µm | particle_count_sae_iso_room_14
| ISO4406 | ISO 4406 - Unclassifiable | particle_count_sae_iso_room_unclassifiable
Patch Test |  | >4µm | patch_test_iso_4
|  | >6µm | patch_test_iso_6
|  | >14µm | patch_test_iso_14
|  | SAE Class | patch_test_sae_class
|  | NAS Class | patch_test_nas_class
| ml | Fluid volume | patch_test_fluid_volume
| Types of Particles (low, high, raised) | Black Contamination | patch_test_particle_black_contamination
|  | Fibers | patch_test_particle_fibers
|  | Metal Content | patch_test_particle_metal_content
|  | Varnish | patch_test_particle_varnish
|  | Grey Sludge | patch_test_particle_grey_sludge
|  | Silicate Residue | patch_test_particle_silicate_residue
|  | Organic Debris | patch_test_particle_organic_debris
|  | Corroded Metal | patch_test_particle_corroded_metal
|  | Resin-like Particles | patch_test_particle_resin_like_particles
|  | Non-ferrous Metal | patch_test_particle_non_ferrous_metal
|  | Rust | patch_test_particle_rust
|  | Elastomer | patch_test_particle_elastomer
|  | Plastic | patch_test_particle_plastic
|  | Stone / Grit | patch_test_particle_stone_grit
|  | Quatz | patch_test_particle_quartz
|  | Beige Fine Contamination | patch_test_particle_beige_contamination
Particle Count - NAS | p/100ml | 2-5µm | particle_count_nas_room_2
| p/100ml | 5-15µm | particle_count_nas_room_5
| p/100ml | 15-25µm | particle_count_nas_room_15
| p/100ml | 25-50µm | particle_count_nas_room_25
| p/100ml | 50-100µm | particle_count_nas_room_50
| p/100ml | >100µm | particle_count_nas_room_100
| p/100ml | >2µm | particle_count_nas_cumulative_room_2
| p/100ml | >5µm | particle_count_nas_cumulative_room_5
| p/100ml | >15µm | particle_count_nas_cumulative_room_15
| p/100ml | >25µm | particle_count_nas_cumulative_room_25
| p/100ml | >50µm | particle_count_nas_cumulative_room_50
| p/100ml | >100µm | particle_count_nas_cumulative_room_100
|  | 2-5µm | particle_count_nas_class_room_2
|  | 5-15µm | particle_count_nas_class_room_5
|  | 15-25µm | particle_count_nas_class_room_15
|  | 25-50µm | particle_count_nas_class_room_25
|  | 50-100µm | particle_count_nas_class_room_50
|  | >100µm | particle_count_nas_class_room_100
|  | Nas Class | particle_count_nas_class_room
|  | 2-5µm | particle_count_nas_iso_room_2
|  | 5-15µm | particle_count_nas_iso_room_5
|  | 15-25µm | particle_count_nas_iso_room_15
Water Content | PPM | Water Content | water_content
| % | Water Content % | water_content_percent
Conductivity | pS/m | Conductivity | conductivity
Viscosity | mm²/s | Viscosity at 25°C | viscosity_25_degree
| mm²/s | Viscosity at 40°C | viscosity_40_degree
| mm²/s | Viscosity at 100°C | viscosity_100_degree
| Index | Viscosity Index | viscosity_index
Elemental Analysis | PPM | Zinc | element_analysis_zinc
| PPM | Magnesium | element_analysis_magnesium
| PPM | Calcium | element_analysis_calcium
| PPM | Phosphorus | element_analysis_phosphorus
| PPM | Barium | element_analysis_barium
| PPM | Boron | element_analysis_boron
| PPM | Silicon | element_analysis_silicon
| PPM | Sodium | element_analysis_sodium
| PPM | Nickel | element_analysis_nickel
| PPM | Vanadium | element_analysis_vanadium
| PPM | Silver | element_analysis_silver
| PPM | Titanium | element_analysis_titanium
| PPM | Iron | element_analysis_iron
| PPM | Lead | element_analysis_lead
| PPM | Chromium | element_analysis_chromium
| PPM | Aluminium | element_analysis_aluminium
| PPM | Copper | element_analysis_copper
| PPM | Tin | element_analysis_tin
| PPM | Molybdenum | element_analysis_molybdenum
| PPM | Beryllium | element_analysis_beryllium
| PPM | Tungsten | element_analysis_tungsten
| PPM | Cadmium | element_analysis_cadmium
| PPM | Cobalt | element_analysis_cobalt
| PPM | Antimony | element_analysis_antimony
| PPM | Bismuth | element_analysis_bismuth
| PPM | Chlorine | element_analysis_chlorine
| PPM | Lithium | element_analysis_lithium
| PPM | Manganese | element_analysis_manganese
| PPM | Potassium | element_analysis_potassium
| PPM | Sulfur | element_analysis_sulfur
| PPM | Zirconium | element_analysis_zirconium
| PPM | Total Metal Content | element_analysis_total_metal_content
Acid / Base Number | mgKOH/g | Total Acid Number | tan
| mgKOH/g | Total Base Number | tbn
MPC | Index | MPC | mpc_index
| g | Before
| g | After
| mg/L | MPC Gravimetric Result | mpc_gravimetric_result
|  | MPC A-Value | mpc_a
|  | MPC B-Value | mpc_b
|  | MPC L-Value | mpc_l
Particle Quantity | Index | PQ Index | pq
RULER |  | RULER I Base | ruler_base
|  | RULER I Sample | ruler_sample
| % | RULER I | ruler_percent
| % | RULER - Amines | ruler_amines
| % | RULER II | ruler_percent_ii
| % | RULER - Phenols | ruler_phenols
| % | RULER III | ruler_percent_iii
Particle Count - SAE 80°C | p/100ml | 4-6µm | particle_count_sae_eighty_4
| p/100ml | 6-14µm | particle_count_sae_eighty_6
| p/100ml | 14-21µm | particle_count_sae_eighty_14
| p/100ml | 21-38µm | particle_count_sae_eighty_21
| p/100ml | 38-70µm | particle_count_sae_eighty_38
| p/100ml | >70µm | particle_count_sae_eighty_70
| p/100ml | >4µm | particle_count_sae_eighty_cumulative_4
| p/100ml | >6µm | particle_count_sae_eighty_cumulative_6
| p/100ml | >14µm | particle_count_sae_eighty_cumulative_14
| p/100ml | >21µm | particle_count_sae_eighty_cumulative_21
| p/100ml | >38µm | particle_count_sae_eighty_cumulative_38
| p/100ml | >70µm | particle_count_sae_eighty_cumulative_70
|  | >4µm | particle_count_sae_eighty_sae_4
|  | >6µm | particle_count_sae_eighty_sae_6
|  | >14µm | particle_count_sae_eighty_sae_14
|  | >21µm | particle_count_sae_eighty_sae_21
|  | >38µm | particle_count_sae_eighty_sae_38
|  | >70µm | particle_count_sae_eighty_sae_70
|  | SAE Class | particle_count_sae_eighty_sae
|  | >4µm | particle_count_sae_eighty_iso_4
|  | >6µm | particle_count_sae_eighty_iso_6
|  | >14µm | particle_count_sae_eighty_iso_14
Particle Count - NAS 80°C | p/100ml | 2-5µm | particle_count_nas_eighty_2
| p/100ml | 5-15µm | particle_count_nas_eighty_5
| p/100ml | 15-25µm | particle_count_nas_eighty_15
| p/100ml | 25-50µm | particle_count_nas_eighty_25
| p/100ml | 50-100µm | particle_count_nas_eighty_50
| p/100ml | >100µm | particle_count_nas_eighty_100
| p/100ml | >2µm | particle_count_nas_eighty_cumulative_2
| p/100ml | >5µm | particle_count_nas_eighty_cumulative_5
| p/100ml | >15µm | particle_count_nas_eighty_cumulative_15
| p/100ml | >25µm | particle_count_nas_eighty_cumulative_25
| p/100ml | >50µm | particle_count_nas_eighty_cumulative_50
| p/100ml | >100µm | particle_count_nas_eighty_cumulative_100
|  | 2-5µm | particle_count_nas_eighty_nas_2
|  | 5-15µm | particle_count_nas_eighty_nas_5
|  | 15-25µm | particle_count_nas_eighty_nas_15
|  | 25-50µm | particle_count_nas_eighty_nas_25
|  | 50-100µm | particle_count_nas_eighty_nas_50
|  | >100µm | particle_count_nas_eighty_nas_100
|  | Nas Class | particle_count_nas_eighty_nas
|  | 2-5µm | particle_count_nas_eighty_iso_2
|  | 5-15µm | particle_count_nas_eighty_iso_5
|  | 15-25µm | particle_count_nas_eighty_iso_15
FT-IR | abs/0.1mm | Soot | ftir_soot
| abs/0.1mm | Oxidation | ftir_oxidation
| abs/cm | Oxidation | ftir_oxidation_de
| abs/0.1mm | Nitration | ftir_nitration
| abs/cm | Nitration | ftir_nitration_de
| abs/0.1mm | Glycol | ftir_glycol
| abs/0.1mm | Sulphation | ftir_sulphation
| abs/cm | Sulphation | ftir_sulphation_de
| % | Diesel Fuel | ftir_diesel_fuel
| Vol % | Biodiesel (FAME) | ftir_fame
| % | Fuel | ftir_fuel
| Mass% | Soot % | ftir_soot_percent
| Index | Soot Index | ftir_soot_index
| % | Vegetable Oil | ftir_vegetable_oil
| Index | IR-Index | ftir_index
| % | Phenolic Antioxidants | phenolic_antioxidants
| % | Phenolic Inhibitor | phenolic_inhibitor
Colour |  | ASTM colour | astm_colour
Gravimetric Content | ml | Filtered Volume | gravimetric_volume
| g | Before
| g | After
| mg/L | Gravimetric Result | gravimetric_result
pH |  | pH Value | ph_value
|  | i-pH Value | i_ph_value
Cold Filter Plugging Point | °C | CFPP | cold_filter_plugging_point
Cloud point | °C | Cloud point | cloud_point
Microbiological Contamination | cfu/ml | Bacterial Dip Slide | dip_slide_bacterial
| cfu/ml | Yeast Dip Slide | dip_slide_yeast
|  | Fungus Dip Slide | dip_slide_fungus
Air Release | min | Air Release | air_release
Glycol Concentration | %(Vol/Vol) | Glycol Concentration | glycol_concentration
Conductivity Coolants | µS/cm | Conductivity | conductivity_coolants
RPVOT | minutes | RPVOT Base | rpvot_base
| minutes | RPVOT Sample | rpvot_sample
| % | RPVOT | rpvot_percent
Foaming Characteristics | ml | Foaming Input i | foaming_characteristics_i
| ml | Foaming Input ii | foaming_characteristics_ii
| ml/ml | Foaming Tendency I | foaming_characteristics_merged
| ml/ml | Foaming Tendency II | foaming_characteristics_merged_ii
| ml/ml | Foaming Tendency III | foaming_characteristics_merged_iii
Resistivity | MΩ.m | Resistivity | resistivty
Demulsibility | seconds | Demulsibility | demulsibillity
Water Separation Capacity | numeric | Water Seperability | water_separability
| minutes | Demulsibility | water_separation_i
| seconds | Water Separation Capacity | water_separation_ii
Water Hardness | °dH | Water Hardness | water_hardness
| mg CaCO3/L | Water Hardness | water_hardness_icp
Fluorescent Brightness | % | Fluorescent Brightness | fluorescent_brightness
Flash Point | °C | Seta Flash Point | flash_point_seta
| °C | Flash Point (closed cup) | flash_point_pensky_martens
| °C | Flash Point (open cup) | flash_point_cleveland
Gas Chromatography | mg/kg | Ethylene Glycol Content | glycol_content
| % (m) | Fuel Content | fuel_content
| ppm | PCB Content | pcb_content
Nitrate/Nitrite | mg/l | Nitrate | nitrate
| mg/l | Nitrite | nitrite
Solid Contaminants | mg/kg | Solid Contaminants | solid_contaminants
Sulphate Ash | % (weight) | Sulphate Ash | sulphate_ash
Pour Point | °C | Pour Point | pour_point
Penetration | mm | Unworked Penetration | unworked_penetration
| mm | Worked Penetration | worked_penetration
Iodine Number | g I/100 g | Iodine Number | iodine_number
Density | kg/m³ | Density | density
Dispersancy | % | Dispersancy | dispersancy
Drop Point | °C | Drop point | drop_point
Conradson Residue | % | Conradson Residue | conradson_residue
Corrosion Protection (steel) |  | Corrosion Protection | corrosion_protection
Bleeding test | % | Bleeding Test (Oil Loss) | bleeding_test_oil_loss
| mm | Bleeding Test (Spot) | bleeding_test_spot
Brugger test | N/mm² | Brugger test | brugger_test
Anions | mg/l | Fluoride | anions_fluoride
| mg/l | Bromide | anions_bromide
| mg/l | Sulphate | anions_sulphate
| mg/l | Chloride | anions_chloride
| mg/l | Nitrate | anions_nitrate
| mg/l | Nitrite | anions_nitrite
| mg/l | Phosphate | anions_phosphate
| mg/l | Adipinate | anions_adipinate
| mg/l | Acetate | anions_acetate
| mg/l | Glycolate | anions_glycolate
| mg/l | Formiate | anions_formiate
| mg/l | Oxalate | anions_oxalate
Elemental Analysis - Coolants | mg/l | Calcium | elemental_analysis_coolants_calcium
| mg/l | Magnesium | elemental_analysis_coolants_magnesium
| mg/l | Iron | elemental_analysis_coolants_iron
| mg/l | Chrome | elemental_analysis_coolants_chrome
| mg/l | Aluminium | elemental_analysis_coolants_aluminium
| mg/l | Nickel | elemental_analysis_coolants_nickel
| mg/l | Copper | elemental_analysis_coolants_copper
| mg/l | Lead | elemental_analysis_coolants_lead
| mg/l | Zinc | elemental_analysis_coolants_zinc
| mg/l | Tin | elemental_analysis_coolants_tin
| mg/l | Sodium | elemental_analysis_coolants_sodium
| mg/l | Phosphorous | elemental_analysis_coolants_phosphorous
| mg/l | Boron | elemental_analysis_coolants_boron
| mg/l | Potassium | elemental_analysis_coolants_potassium
| mg/l | Silicon | elemental_analysis_coolants_silicon
| mg/l | Molybdenum | elemental_analysis_coolants_molybdenum
| mg/l | Manganese | elemental_analysis_coolants_manganese
| mg/l | Titanium | elemental_analysis_coolants_titanium
| mg/l | Vanadium | elemental_analysis_coolants_vanadium
| mg/l | Silver | elemental_analysis_coolants_silver
| mg/l | Lithium | elemental_analysis_coolants_lithium
| mmol/l | Alkaline earth | elemental_analysis_coolants_alkaline_earth
Gravimetric Content - Coolants | mg/l | Gravimetric Result | gravimetric_result_coolants
Solid Contaminants - Coolants | mg/g | Solid Contaminants | solid_contaminants_coolants
Patch Test - Coolants | p/100 ml | 5≤ x <15 | particle_count_coolant_15
| p/100 ml | 15≤ x <25 | particle_count_coolant_25
| p/100 ml | 25≤ x <50 | particle_count_coolant_50
| p/100 ml | 50≤ x <100 | particle_count_coolant_100
| p/100 ml | 100≤ x <200 | particle_count_coolant_200
| p/100 ml | 200≤ x <400 | particle_count_coolant_400
| p/100 ml | 400≤ x <600 | particle_count_coolant_600
| p/100 ml | 600≤ x <1000 | particle_count_coolant_1000
| p/100 ml | ³1000 | particle_count_coolant_3_1000
Refractometer | °C | Freezing Point | freezing_point
| Index | Refractive Index (20 °C) | refractive_index
Elemental Analysis - AES | mg/kg | Aluminium | elemental_analysis_aes_aluminium
| mg/kg | Chrome | elemental_analysis_aes_chrome
| mg/kg | Iron | elemental_analysis_aes_iron
| mg/kg | Copper | elemental_analysis_aes_copper
| mg/kg | Manganese | elemental_analysis_aes_manganese
| mg/kg | Nickel | elemental_analysis_aes_nickel
| mg/kg | Lead | elemental_analysis_aes_lead
| mg/kg | Tin | elemental_analysis_aes_tin
| mg/kg | Silicon | elemental_analysis_aes_silicon
| mg/kg | Potassium | elemental_analysis_aes_potassium
| mg/kg | Sodium | elemental_analysis_aes_sodium
| mg/kg | Titanium | elemental_analysis_aes_titanium
| mg/kg | Vanadium | elemental_analysis_aes_vanadium
| mg/kg | Calcium | elemental_analysis_aes_calcium
| mg/kg | Magnesium | elemental_analysis_aes_magnesium
| mg/kg | Boron | elemental_analysis_aes_boron
| mg/kg | Zinc | elemental_analysis_aes_zinc
| mg/kg | Phosphorous | elemental_analysis_aes_phosphorous
| mg/kg | Barium | elemental_analysis_aes_barium
| mg/kg | Molybdenum | elemental_analysis_aes_molybdenum
| mg/kg | Lithium | elemental_analysis_aes_lithium
Service Measurements | Bar | ΔP | service_measurements_delta_p
| l/min | Flow | service_measurements_flow
| liters | Fuel Pass | service_measurements_fuel_pass
|  | >4µm | service_measurements_fcu_4
|  | >6µm | service_measurements_fcu_6
|  | >14µm | service_measurements_fcu_14
|  | ISO Code | service_measurements_fcu_merged
| °C | Temperature | service_measurements_fcu_temperature
| %RH | Water Content | service_measurements_fcu_water_content
|  | >4µm | service_measurements_fcu_before_4
|  | >6µm | service_measurements_fcu_before_6
|  | >14µm | service_measurements_fcu_before_14
|  | ISO Code | service_measurements_fcu_before_merged
| °C | Temperature | service_measurements_fcu_before_temperature
| %RH | Water Content | service_measurements_fcu_before_water_content
|  | >4µm | service_measurements_fcu_after_4
|  | >6µm | service_measurements_fcu_after_6
|  | >14µm | service_measurements_fcu_after_14
|  | ISO Code | service_measurements_fcu_after_merged
| °C | Temperature | service_measurements_fcu_after_temprature
| %RH | Water Content | service_measurements_fcu_after_water_content
Filter Analysis | mg/cm² | Dirt load of filter element | dirt_load_filterelement

## Data Validation
Unclassifiable? | Types of Particles | Analysis Package | Reason For Analysis
Yes | Low | Basic | Routine
| Raised | Advanced | Breakdown
| High | Premium | Investigation
|  | Freemium | Oil Change
|  | Gear | New Oil / Reference
|  | Turbine Lubrication | Case Study
|  | Engine | Other
Grease
FRF I
FRF II
Diesel
Coolant